## BOQ
# | Description of Works | Unit | One (1) lot |  |  | Two (2) lots |  |  | Three (3) lots
|  |  | Quantity | Unit Price (USD $) | Total Price (USD $) | Quantity | Unit Price (USD $) | Total Price (USD $) | Quantity | Unit Price (USD $) | Total Price (USD $)
A | Preparatory Works
1 | Site preparation and access: Clearance & disposal of debris to dump site, Temporary electricity & Water incl. Generator, Tools & equipment, Transportation, Site Security, etc. The cost including mobilization, demobilization and detailed shop drawings | houses | 67 |  |  | 133 |  |  | 200
Sub Total - Preparatory Works
B | Labor Cost
Demolitions:
1 | Cut away and remove all derelict ceiling, roofing, ring beams and framing; Remove all structural elements identified for replacement; Remove all windows and doors identified for replacement; Remove and set aside for reuse all fixtures and fittings; Remove the existing ceiling (if applicable); Remove mold (if applicable), etc. | houses | 67 |  |  | 133 |  |  | 200
Roof:
1 | Prepare and install 22G Aluzinc roof sheet | m2 | 8667 |  |  | 17333 |  |  | 26000
2 | Prepare and install 22G Aluzinc ridge capping/ Cap sheets | m1 | 2247 |  |  | 4493 |  |  | 6740
3 | Prepare and install pressure treated timber 2" x 4" x 16' battens | m1 | 5913 |  |  | 11827 |  |  | 17740
4 | Prepare and install pressure treated timber 2" x 4" x 18' battens | m1 | 5173 |  |  | 10347 |  |  | 15520
5 | Prepare and install pressure treated timber 2" x 4" x 20' battens | m1 | 3697 |  |  | 7393 |  |  | 11090
6 | Prepare and install 30lb roof felt paper | m2 | 8667 |  |  | 17333 |  |  | 26000
7 | Prepare and install pressure treated T1-11 5/8" plywood | m2 | 8667 |  |  | 17333 |  |  | 26000
8 | Prepare and install pressure treated timber 3" x 6" x 16' rafters | m1 | 5913 |  |  | 11827 |  |  | 17740
9 | Prepare and install pressure treated timber 3" x 6" x 18' rafters | m1 | 5173 |  |  | 10347 |  |  | 15520
10 | Prepare and install pressure treated timber 3" x 6" x 20' rafters | m1 | 3697 |  |  | 7393 |  |  | 11090
11 | Prepare and install timber 3" x 8"x 16' ridge rafters | m1 | 900 |  |  | 1800 |  |  | 2700
12 | Prepare and install timber 3" x 8"x 18' ridge rafters | m1 | 787 |  |  | 1573 |  |  | 2360
13 | Prepare and install timber 3" x 8"x 20' ridge rafters | m1 | 563 |  |  | 1127 |  |  | 1690
14 | Prepare and install timber 2" x 10"x 16' fascia board | m1 | 1127 |  |  | 2253 |  |  | 3380
15 | Prepare and install timber 2" x 10"x 18' fascia board | m1 | 987 |  |  | 1973 |  |  | 2960
16 | Prepare and install timber 2" x 10"x 20' fascia board | m1 | 703 |  |  | 1407 |  |  | 2110
Concrete & Steel Works:
1 | Cut away all reinforced concrete and prepare to receive new elements and repairs. | m1 | 2820 |  |  | 5640 |  |  | 8460
2 | Cut, prepare and install all reinforcing steel 3/8" steel | m1 | 4533 |  |  | 9067 |  |  | 13600
3 | Cut, prepare and install all reinforcing steel 1/2" steel | m1 | 4533 |  |  | 9067 |  |  | 13600
4 | Preparation, placement and removal of all formwork | m2 | 2570 |  |  | 5140 |  |  | 7710
5 | Site mix to specifications, concrete and pour | houses | 67 |  |  | 133 |  |  | 200
6 | Plasterwork of concrete works | m2 | 2647 |  |  | 5293 |  |  | 7940
Blockwork & Plastering:
1 | Install 4" blockwork | m2 | 1897 |  |  | 3793 |  |  | 5690
2 | Install 6" blockwork | m2 | 1660 |  |  | 3320 |  |  | 4980
3 | Install 8" blockwork | m2 | 1187 |  |  | 2373 |  |  | 3560
4 | Rough cast and finishing plasterwork | m2 | 9467 |  |  | 18933 |  |  | 28400
Windows & Doors:
1 | Install Domus 24” x 48” single Hung Window with Clear security laminate glass (or equal and approved ) | unit | 133 |  |  | 267 |  |  | 400
2 | Install Domus 36” x 48” single Hung Window with Clear security laminate glass (or equal and approved) | unit | 133 |  |  | 267 |  |  | 400
3 | Install Aluminum Single Exterior Doors 36” x 80” and ironmongery | pcs | 93 |  |  | 187 |  |  | 280
4 | Install Aluminum Double Exterior Doors 72” x 80” and ironmongery | pcs | 40 |  |  | 80 |  |  | 120
5 | Install Solid Core Timber Interior Doors 32” x 80” and ironmongery | pcs | 133 |  |  | 267 |  |  | 400
External & Internal Finishes:
1 | Painting of roof interior including rafters | m2 | 11467 |  |  | 22933 |  |  | 34400
Guttering & Downspouts
1 | Installation of PVC guttering plus brackets | m1 | 2800 |  |  | 5600 |  |  | 8400
2 | Installation of PVC downspouts plus brackets | m1 | 1600 |  |  | 3200 |  |  | 4800
Electrical Works:
1 | Install all wiring, cans and switching for surface mounted duplex 110V outlets | pcs | 400 |  |  | 800 |  |  | 1200
2 | Install Lithonia FMLWL 48 840 4; White LED Wraparound Light (and or equal and approved) | pcs | 133 |  |  | 267 |  |  | 400
3 | Install Design House – Millbridge 1 Light Oil Rubbed Bronze Ceiling Light Fixture & LED Bulb Light (and or equal and approved) | pcs | 200 |  |  | 400 |  |  | 600
4 | Install Volume Lighting – 1 Light White Indoor/Outdoor Polycarbonate Wall Mount Sconce with Honey Jelly Jar Beehive Clear Glass Shade & LED Bulb (and or equal and approved) | pcs | 267 |  |  | 533 |  |  | 800
5 | Installation and rewiring of new electrical meter box and reconnection to mains supply (if applicable) | houses | 10 |  |  | 20 |  |  | 30
| Rain water & drainage (if applicable) -- make good and restore to original function. | houses | 10 |  |  | 20 |  |  | 30
Sub Total - Labor
C | Material Cost -- These items contains supply of material including necessary protection, storage, transport to site, loading and offloading.
Roof:
1 | 22G Aluzinc roof sheet | m2 | 8667 |  |  | 17333 |  |  | 26000
2 | 22G Aluzinc ridge capping | m1 | 2247 |  |  | 4493 |  |  | 6740
3 | Supply pressure treated timber 2" x 4" x 16' battens | m1 | 5913 |  |  | 11827 |  |  | 17740
4 | Supply pressure treated timber 2" x 4" x 18' battens | m1 | 5173 |  |  | 10347 |  |  | 15520
5 | Supply pressure treated timber 2" x 4" x 20' battens | m1 | 3697 |  |  | 7393 |  |  | 11090
6 | 30lb roof felt paper | m2 | 8667 |  |  | 17333 |  |  | 26000
7 | T1-11 5/8" pressure treated plywood | m2 | 8667 |  |  | 17333 |  |  | 26000
8 | Supply pressure treated T1-11 5/8" plywood | m2 | 8667 |  |  | 17333 |  |  | 26000
9 | Supply pressure treated timber 3" x 6" x 16' rafters | m1 | 5913 |  |  | 11827 |  |  | 17740
10 | Supply pressure treated timber 3" x 6" x 18' rafters | m1 | 5173 |  |  | 10347 |  |  | 15520
11 | Supply pressure treated timber 3" x 6" x 20' rafters | m1 | 3697 |  |  | 7393 |  |  | 11090
12 | Supply timber 3" x 8"x 16' ridge rafters | m1 | 900 |  |  | 1800 |  |  | 2700
13 | Supply timber 3" x 8"x 18' ridge rafters | m1 | 787 |  |  | 1573 |  |  | 2360
14 | Supply timber 3" x 8"x 20' ridge rafters | m1 | 563 |  |  | 1127 |  |  | 1690
15 | Supply timber 2" x 10"x 16' fascia board | m1 | 1127 |  |  | 2253 |  |  | 3380
16 | Supply timber 2" x 10"x 18' fascia board | m1 | 987 |  |  | 1973 |  |  | 2960
17 | Supply timber 2" x 10"x 20' fascia board | m1 | 703 |  |  | 1407 |  |  | 2110
Fixings:
1 | Tornilla Screws 6" | lbs | 1563 |  |  | 3127 |  |  | 4690
2 | Tornilla Screws 2 1/2" | lbs | 1563 |  |  | 3127 |  |  | 4690
3 | Galvanized Screws with cap 3" | lbs | 1563 |  |  | 3127 |  |  | 4690
4 | Hurricane straps and gangnail plates throughout | pcs | 12077 |  |  | 24153 |  |  | 36230
5 | Self-Taping roof screws | lbs | 1447 |  |  | 2893 |  |  | 4340
Concrete & Steel Works:
1 | 1/2" dia HT steel rebar | ton | 437 |  |  | 873 |  |  | 1310
2 | 3/8" dia HT steel rebar | ton | 247 |  |  | 493 |  |  | 740
3 | Exterior plywood 3/4" | pcs | 933 |  |  | 1867 |  |  | 2800
4 | 3" Concrete nails | lbs | 990 |  |  | 1980 |  |  | 2970
5 | 3" Wooden nails | lbs | 1447 |  |  | 2893 |  |  | 4340
6 | Concrete | m3 | 247 |  |  | 493 |  |  | 740
Blockwork & Plastering:
1 | Load bearing 4" concrete blocks including mortar | m2 | 1897 |  |  | 3793 |  |  | 5690
2 | Load bearing 6" concrete blocks including mortar | m2 | 1660 |  |  | 3320 |  |  | 4980
3 | Load bearing 8" concrete blocks including mortar | m2 | 1187 |  |  | 2373 |  |  | 3560
4 | Plasterwork | m2 | 9467 |  |  | 18933 |  |  | 28400
Windows & Doors:
1 | Domus 24” x 48” single Hung Window with Clear security laminate glass (or equal and approved ) | unit | 133 |  |  | 267 |  |  | 400
2 | Domus 36” x 48” single Hung Window with Clear security laminate glass (or equal and approved) | unit | 133 |  |  | 267 |  |  | 400
3 | Aluminum Single Exterior Doors 36” x 80” | pcs | 93 |  |  | 187 |  |  | 280
4 | Aluminum Double Exterior Doors 72” x 80” | pcs | 40 |  |  | 80 |  |  | 120
5 | Solid Core Timber Interior Doors 32” x 80” | pcs | 133 |  |  | 267 |  |  | 400
External & Internal Finishes:
1 | Interior Wood Paint | gallon | 380 |  |  | 760 |  |  | 1140
Guttering & Downspouts
1 | PVC guttering & brackets | m1 | 2820 |  |  | 5640 |  |  | 8460
2 | PVC downspouts & brackets | m1 | 1543 |  |  | 3087 |  |  | 4630
Electrical Works:
1 | Supply all cans and switching for surface mounted duplex 110V outlets | pcs | 400 |  |  | 800 |  |  | 1200
2 | Supply all wiring (as per GEBE specifications) for surface mounted duplex 110V outlets | m1 | 6667 |  |  | 13333 |  |  | 20000
3 | Supply Lithonia FMLWL 48 840 4; White LED Wraparound Light (and or equal and approved) | pcs | 133 |  |  | 267 |  |  | 400
4 | Supply Design House – Millbridge 1 Light Oil Rubbed Bronze Ceiling Light Fixture & LED Bulb Light (and or equal and approved) | pcs | 200 |  |  | 400 |  |  | 600
5 | Supply Volume Lighting – 1 Light White Indoor/Outdoor Polycarbonate Wall Mount Sconce with Honey Jelly Jar Beehive Clear Glass Shade & LED Bulb (and or equal and approved) | pcs | 267 |  |  | 533 |  |  | 800
6 | Supply new electrical meter box (if applicable) The meter box shall be approved by GEBE and include all necessary wiring and connections coming from the electricity from the main road to the home. | houses | 10 |  |  | 20 |  |  | 30
| Rain water & drainage (if applicable) -- make good and restore to original function | houses | 10 |  |  | 20 |  |  | 30
Sub Total - Materials
D | General Cost
1 | Workers welfare provisions; Worker's Comprehensive Insurance; Performance Bonds; Inspections and Approvals; Materials Testing & Quality Management, etc. This item shall also include all required testing of fixtures and electrical works according to GEBE standards. | houses | 67 |  |  | 133 |  |  | 200
Sub Total General Cost & Overhead
| Subtotal Bill of Quantities |  | --- | --- |  | --- | --- |  | --- | ---

## Labor
Item no. | Description | Unit | One (1) lot |  |  | Two (2) lots |  |  | Three (3) lots
|  |  | Nominal quantity | Daily Rate (USD $) | Extended amount (USD $) | Nominal quantity | Daily Rate (USD $) | Extended amount (USD $) | Nominal quantity | Daily Rate (USD $) | Extended amount (USD $)
1 | Banksman / Spotter | per day | 50 |  |  | 100 |  |  | 150
2 | Carpenter | per day | 50 |  |  | 100 |  |  | 150
3 | Driver | per day | 50 |  |  | 100 |  |  | 150
4 | Electrician | per day | 50 |  |  | 100 |  |  | 150
5 | Equipment Operator | per day | 50 |  |  | 100 |  |  | 150
6 | Loader | per day | 50 |  |  | 100 |  |  | 150
7 | Mason | per day | 50 |  |  | 100 |  |  | 150
8 | Painter | per day | 50 |  |  | 100 |  |  | 150
9 | Plumber | per day | 50 |  |  | 100 |  |  | 150
10 | Skilled Labor | per day | 50 |  |  | 100 |  |  | 150
11 | Unskilled Labor | per day | 50 |  |  | 100 |  |  | 150
12 | Provisional Sum for Labor not listed above. The Contractor will supply this Labor under the conditions defined for the rest of the Labor. The Contractor will be reimbursed based upon actual costs (as per documentary evidence). | n/a | n/a | n/a | 50000 | n/a | n/a | 100000 | n/a | n/a | 150000
| Subtotal |  | n/a | n/a |  | n/a | n/a |  | n/a | n/a
13 | Allow percenta of Subtotal for Contractor’s overhead, profit, etc., in accordance with paragraph 3 (b) above. |  | n/a | % | Extended amount (USD $) | n/a | % | Extended amount (USD $) | n/a | % | Extended amount (USD $)
Total for Daywork: Labor
(carried forward to Daywork Summary, p. )
a. To be entered by the Bidder.

## Materials
Item no. | Description | Unit | One (1) lot |  |  | Two (2) lots |  |  | Three (3) lots
|  |  | Nominal quantity | Rate (USD $) | Extended amount (USD $) | Nominal quantity | Rate (USD $) | Extended amount (USD $) | Nominal quantity | Rate (USD $) | Extended amount (USD $)
1 | Hardcore | per m3 | 83 |  |  | 167 |  |  | 250
2 | Graded Hardcore | per m3 | 83 |  |  | 167 |  |  | 250
3 | Granular Fill | per m3 | 83 |  |  | 167 |  |  | 250
4 | Imported Earth Fill | per m3 | 83 |  |  | 167 |  |  | 250
5 | Coarse Aggregate (20mm) gauge | per m3 | 83 |  |  | 167 |  |  | 250
6 | Ditto (38mm) gauge | per m3 | 83 |  |  | 167 |  |  | 250
7 | All- in-Aggregate | per m3 | 83 |  |  | 167 |  |  | 250
8 | Sand for binding | per m3 | 83 |  |  | 167 |  |  | 250
9 | Sand for concrete | per m3 | 83 |  |  | 167 |  |  | 250
10 | Sand for rendering, mortar and plaster | per m3 | 83 |  |  | 167 |  |  | 250
11 | Crushed blue limestone 12mm-20mm | per m3 | 83 |  |  | 167 |  |  | 250
12 | Washed gravel (graded all-in-aggregate) | per m3 | 83 |  |  | 167 |  |  | 250
13 | Gravel | per m3 | 83 |  |  | 167 |  |  | 250
14 | Portland Cement (ordinary) | per bag of 21kg | 167 |  |  | 333 |  |  | 500
15 | Sulphate resisting cement | per bag of 21kg | 83 |  |  | 167 |  |  | 250
16 | Concrete (1 :2) (all-in-aggregate) | per m3 | 83 |  |  | 167 |  |  | 250
17 | Concrete (21N/mm2 in 28 days) | per m3 | 83 |  |  | 167 |  |  | 250
18 | Concrete (25N/mm2 in 28 days) | per m3 | 83 |  |  | 167 |  |  | 250
19 | Concrete (35N/mm2 in 28 days) | per m3 | 83 |  |  | 167 |  |  | 250
20 | Mild steel tensile strength 400 N/mm2 rod reinforcement over 25mm diameter | per kg | 16667 |  |  | 33333 |  |  | 50000
21 | Ditto 25-16mm diameter | per kg | 16667 |  |  | 33333 |  |  | 50000
22 | Mild steel Rod Reinforced 16-12mm diameter | per kg | 16667 |  |  | 33333 |  |  | 50000
23 | Hollow concrete blocks 100 x 200 x 400mm | per m2 | 167 |  |  | 333 |  |  | 500
24 | Ditto 150 x 200 x 400mm | per m2 | 167 |  |  | 333 |  |  | 500
25 | Ditto 150 x 200 x 300mm | per m2 | 167 |  |  | 333 |  |  | 500
26 | 100mm Concrete drain pipe | per m | 167 |  |  | 333 |  |  | 500
27 | 150mm Ditto | per m | 167 |  |  | 333 |  |  | 500
28 | Steel fabric reinforcement BS. 4483 A193 | per m2 | 167 |  |  | 333 |  |  | 500
29 | Ditto BS. 4483 A142 | per m2 | 167 |  |  | 333 |  |  | 500
30 | Plywood for formwork size:- 2400 x 1200 x 19mm | per m2 | 167 |  |  | 333 |  |  | 500
31 | Sheet steel ditto size:­ - 2400 x 1200 x 12mm | per m2 | 167 |  |  | 333 |  |  | 500
32 | Interior quality plywood:­ - 2400 x 1200 x 12mm | per m2 | 167 |  |  | 333 |  |  | 500
33 | Exterior quality plywood:­ - 2400 x 1200 x 12mm | per m2 | 167 |  |  | 333 |  |  | 500
34 | 50mm x 100mm Softwood for Carpentry | per bf | 1667 |  |  | 3333 |  |  | 5000
35 | 50mm x 100mm Softwood for Joinery | per bf | 1667 |  |  | 3333 |  |  | 5000
36 | Galvanized iron tubing 50mm diameter (4mm) gauge in 6m length. | per m | 167 |  |  | 333 |  |  | 500
37 | Ditto 25mm diameter do | per m | 167 |  |  | 333 |  |  | 500
38 | P.V.C. tubing 25mm diameter in (6m) length | per m | 167 |  |  | 333 |  |  | 500
39 | Ditto 20mm do | per m | 167 |  |  | 333 |  |  | 500
40 | Ditto 12mm do | per m | 167 |  |  | 333 |  |  | 500
41 | Emulsion paint | per liter | 167 |  |  | 333 |  |  | 500
42 | Oil paint | per liter | 167 |  |  | 333 |  |  | 500
43 | Provisional Sum for materials not listed above. The Contractor will supply these materials under the conditions defined for the rest of the materials. The Contractor will be reimbursed based upon actual costs (as per documentary evidence). | n/a | n/a | n/a | 50000 | n/a | n/a | 100000 | n/a | n/a | 150000
| Subtotal |  | n/a | n/a |  | n/a | n/a |  | n/a | n/a
44 | Allow percenta of Subtotal for Contractor’s overhead, profit, etc., in accordance with paragraph 4 (b) above. |  | n/a | % | Extended amount (USD $) | n/a | % | Extended amount (USD $) | n/a | % | Extended amount (USD $)
Total for Daywork: Materials
(carried forward to Daywork Summary, p. )
a. To be entered by the Bidder.

## Equipment
Item no. | Description | Unit | One (1) lot |  |  | Two (2) lots |  |  | Three (3) lots
|  |  | Nominal quantity | Rate (USD $) | Extended amount (USD $) | Nominal quantity | Rate (USD $) | Extended amount (USD $) | Nominal quantity | Rate (USD $) | Extended amount (USD $)
1 | Bobcat loader | per day | 50 |  |  | 100 |  |  | 150
2 | Chain Saw | per day | 50 |  |  | 100 |  |  | 150
3 | Compressor | per day | 50 |  |  | 100 |  |  | 150
4 | Concrete Saw (excl. blades) | per day | 50 |  |  | 100 |  |  | 150
5 | Concrete truck/mixer/agitators | per day (up to 7.0m3) | 50 |  |  | 100 |  |  | 150
6 | Dump Truck | per day (15 ton) | 50 |  |  | 100 |  |  | 150
7 | Fencing & Barriers | per day (10m) | 17 |  |  | 33 |  |  | 50
8 | Flat Trailer | per day | 17 |  |  | 33 |  |  | 50
9 | Front End Loader & Back Hoe | per day | 50 |  |  | 100 |  |  | 150
10 | Fuel Storage | per 200 liters/day | 117 |  |  | 233 |  |  | 350
11 | Generator set | per day | 50 |  |  | 100 |  |  | 150
12 | GP Truck / Crew Van | per day | 50 |  |  | 100 |  |  | 150
13 | Grinder | per day | 50 |  |  | 100 |  |  | 150
14 | Grout Mixer (hand held) | per day | 50 |  |  | 100 |  |  | 150
15 | Hiab Mobile Crane | per day up to 3 ton | 50 |  |  | 100 |  |  | 150
16 | Jack Hammer | per day | 50 |  |  | 100 |  |  | 150
17 | Jacks & Props | per day (1 ton) | 50 |  |  | 100 |  |  | 150
18 | Mini Excavator | per day | 50 |  |  | 100 |  |  | 150
19 | Mobile Lighting unit | per day | 50 |  |  | 100 |  |  | 150
20 | Pick Up Truck / Car | per day | 50 |  |  | 100 |  |  | 150
21 | Portable Pump incl. hoses | per day | 50 |  |  | 100 |  |  | 150
22 | Power float | per day | 50 |  |  | 100 |  |  | 150
23 | Scaffolding | per ton per day | 233 |  |  | 467 |  |  | 700
24 | Self-Propelled Scissors life/access platform | per day (one unit) | 50 |  |  | 100 |  |  | 150
25 | Site Accommodation | per day (10m2 floor area) | 117 |  |  | 233 |  |  | 350
26 | Storage | per day (10m2 floor area) | 117 |  |  | 233 |  |  | 350
27 | Sump Pump | per day | 50 |  |  | 100 |  |  | 150
28 | Tilting Drum Concrete Mixer | per day - Up to 500 liters | 50 |  |  | 100 |  |  | 150
29 | Truck Mounted Concrete Pump | per day | 50 |  |  | 100 |  |  | 150
30 | Vibrating Plate Compactor | per day | 50 |  |  | 100 |  |  | 150
31 | Vibrator poker | per day | 50 |  |  | 100 |  |  | 150
32 | Welding & Cutting Sets | per day (1 set) | 50 |  |  | 100 |  |  | 150
33 | Provisional Sum for equipment not listed above. The Contractor will supply this equipment under the conditions defined for the rest of the equipment. The Contractor will be reimbursed based upon actual costs (as per documentary evidence). | n/a | n/a | n/a | 50000 | n/a | n/a | 100000 | n/a | n/a | 150000
| Subtotal |  | n/a | n/a |  | n/a | n/a |  | n/a | n/a
| Allow percenta of Subtotal for Contractor’s overhead, profit, etc., in accordance with paragraph 5 above. |  | n/a | % | Extended amount (USD $) | n/a | % | Extended amount (USD $) | n/a | % | Extended amount (USD $)
Total for Daywork: Contractor’s Equipment
(carried forward to Daywork Summary, p. )
a. To be entered by the Bidder.

## Daywork
Description | One (1) lot | Two (2) lots | Three (3) lots
| (USD $) | (USD $) | (USD $)
1. Total for Daywork: Labor
2. Total for Daywork: Materials
3. Total for Daywork: Contractor’s Equipment
Subtotal for Daywork
(carried forward to Bid Summary, page. )

## Provisional Sums
Description | One (1) lot | Two (2) lots | Three (3) lots
| (USD $) | (USD $) | (USD $)
1. Provisional sum for additional ESHS outcomes. | 65000 | 130000 | 195000
2. Provisional sum for prevention of sexual exploitation and abuse (SEA) / gender based violence (GBV) awareness and sensitization training. | 65000 | 130000 | 195000
Subtotal for Specified Provisional Sums | 130000 | 260000 | 390000
(carried forward to Grand Summary (B), p. )

## Summary
General Summary | One (1) lot | Two (2) lots | Three (3) lots
| (USD $) | (USD $) | (USD $)
A. Subtotal Bill of Quantities:
B. Subtotal for Daywork
C. Subtotal Specified Provisional Sums
Bid Price (A + B + C) (Carried forward to Letter of Bid)
i) All Provisional Sums are to be expended in whole or in part at the direction and discretion of the Project Manager.
* For evaluation purposes, Provisional Sums will be excluded. Daywork will be considered.

## Information
Description | Unit | One (1) lot | Two (2) lots | Three (3) lots
Bid Price | USD $
Nr. of lots | Nr. | 1 | 2 | 3
Price per lot | USD $
Discount included in the prices for the award of more than one lot | % | n/a